## Sheet1
Table 1—Modifications to the List of Recognized Standards
Old Recognition No. | Replacement Recognition No. | Title of standard 1 | Change
E. General I (Quality Systems/Risk Management) (QS/RM)
5-108 | 5-146 | ISO 80369-6 Second edition 2025-05 Small bore connectors for liquids and gases in healthcare applications—Part 6: Connectors for neural applications | Withdrawn and replaced with newer version.
5-121 | 5-147 | ISO 80369-1 Third edition 2025-10 Small-bore connectors for liquids and gases in healthcare applications—Part 1: General requirements | Withdrawn and replaced with newer version.
5-134 | 5-148 | ISO 15223-1 Fourth edition 2021-07 Medical devices—Symbols to be used with information to be supplied by the manufacturer—Part 1: General requirements [Including Amendment 1 (2025)] | Withdrawn and replaced with newer version.
F. General II (Electrical Safety/Electromagnetic Compatibility) (ES/EMC)
19-43 | 19-57 | IEC 61326-2-6 Edition 4.0 2025-06 Electrical equipment for measurement, control and laboratory use—EMC requirements—Part 2-6: Particular requirements—In vitro diagnostic (IVD) medical equipment | Withdrawn and replaced with newer version.
H. In Vitro Diagnostics (IVD)
7-239 | 7-346 | CLSI EP32 2nd Edition Implementation of Metrological Traceability in Laboratory Medicine | Withdrawn and replaced with newer version.
7-268 | 7-347 | CLSI EP21 2nd Edition Evaluation of Total Analytical Error for Quantitative Medical Laboratory Measurement Procedures | Withdrawn and replaced with newer version.
7-284 | 7-348 | CLSI EP37 1st Edition Supplemental Tables for Interference Testing in Clinical Chemistry | Withdrawn and replaced with newer version.
7-298 | 7-349 | CLSI EP35 1st Edition Assessment of Equivalence or Suitability of Specimen Types for Medical Laboratory Measurement Procedures | Withdrawn and replaced with newer version.
Q. Software/Informatics
13-69 | 13-150 | IEEE Std 11073-10472-2023 Health informatics—Device Interoperability—Part 10472: Personal Health Device Communication—Device Specialization—Medication Monitor | Withdrawn and replaced with newer version.
13-92, 13-55 | 13-151 | IEEE Std 11073-10421-2023 Health Informatics—Device Interoperability—Part 10421: Personal Health Device Communication—Device Specialization—Peak expiratory flow monitor (peak flow) | Withdrawn and replaced with newer version.
1 All standard titles in this table conform to the style requirements of the respective organizations.
III. Listing of New Entries
In table 2, FDA provides the listing of new entries and consensus standards added as modifications to the list of recognized standards under Recognition List Number: 065. These entries are of standards not previously recognized by FDA.
Table 2—New Entries to the List of Recognized Standards
Recognition No. | Title of standard 1 | Reference number and date
H. IVD
7-351 | Determining Allowable Total Error Goals and Limits for Quantitative Medical Laboratory Measurement Procedures | CLSI EP46 1st Edition.
Q. Software/Informatics
13-152 | Health informatics—Accelerating safe, effective and secure remote connected care and mobile health through standards-based interoperability solutions addressing gaps revealed by pandemics | ISO TS 5615:2025.
13-153 | Cybersecurity Consideration Unique to Machine-Learning Enabled Medical Devices | AAMI CR515.
13-154 | Health informatics—Device Interoperability—Part 10429: Personal Health Device Communication—Device Specialization—Spirometry | IEEE Std 11073-10429-2022.
13-155 | Health informatics—Device Interoperability Part 10442: Personal health device communication—Device specialization—Strength fitness equipment | IEEE Std 11073-10442-2023.
13-156 | Health Informatics—Device Interoperability—Part 10471: Personal Health Device Communication—Device Specialization—Independent Living Activity Hub | IEEE Std 11073-10471-2023.
R. Sterility
14-612 | Bacterial Endotoxins Test Using Recombinant Reagents | USP-NF <86> M16015_02_01.
1 All standard titles in this table conform to the style requirements of the respective organizations.